Speed of Sound

Compared to most objects, sound waves travel very fast. It is fast enough that measuring the speed of sound is a technical challenge. One method you could use would be to time an echo. For example, if you were in an open field with a large building a quarter of a kilometer away, you could start a stop watch when a loud noise was made and stop it when you heard the echo. You could then calculate the speed of sound.

To use the same technique over short distances, you need a faster timing system, such as a LabPro interface. In this experiment you will use this technique with a Microphone connected to an interface to determine the speed of sound at room temperature. The Microphone will be placed next to the opening of a hollow tube. When you make a sound by snapping your fingers next to the opening, the interface will begin collecting data. After the sound reflects off the opposite end of the tube, a graph will be displayed showing the initial sound and the echo. You will then be able to determine the round trip time and calculate the speed of sound.

Figure 1

OBJECTIVES

- Measure how long it takes sound to travel down and back in a long tube.

- Determine the speed of sound.

- Compare the speed of sound in air to the accepted value.

MATERIALS

| LabQuest | tube, 1–2 meters long |
| --- | --- |
| LabQuest App | book or plug to cover end of tube |
| Vernier Microphone | meter stick or tape measure |
| Thermometer | Snapper (dog training clicker) |

PROCEDURE

- Use the thermometer to measure the air temperature in degrees Celsius of the classroom.

2.	Record the room temperature in your data table.

3.	Connect the Microphone to LabQuest. Tap File - New.

4.	Set up the LabQuest to trigger on the first loud sound the Microphone detects by doing the following:

- On the Meter screen, tap Sensors – Zero – Microphone CH 1.

- On the Meter screen, tap Mode.

- Tap Triggering (lower part of screen) and select Enable Triggering.

- Use scroll bar on right side of screen to scroll down. Make sure “increasing” is selected. Change the “across” number to 0.1.

- Make sure the “collect” number is 0 points before trigger.

- Tap OK.

5.	Close the end of the tube. This can be done by inserting a plug or standing a book against the end so it is sealed. Measure the length of the tube and record in the data table.

Figure 2

6.	Place the Microphone as close to the end of the long tube as possible, as shown in Figure 2. Position the Microphone so that it can detect the initial sound and the echo coming back down the tube.

7.	Start data collection by tapping the green arrow in lower left of screen. Snap near the opening of the tube. This sharp sound will trigger the interface to begin collecting data.

8.	If you are successful, the graph will resemble the one in Figure 3. The first peak is the initial sound, the second is the echo. On the graph, tap the highest point on the first wave form. Record the time value displayed to the lower right of the graph in the data table as Trial 1 Time of Direct Sound Start. Tap the highest point on the second wave form. Record the time in your data table as Trial 1 of Time of Echo Start.

- 9.	Collect data for a total of five trials.

DATA TABLE

| Length of tube | m |
| --- | --- |
| Temperature of room | °C |

| Trial | Time of Direct Sound Start (s) | Time of Echo Start (s) | Time Interval (s) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| Average |  |  |  |

| Speed (m/s) |  |
| --- | --- |

ANALYSIS

- From the time-pairs you recorded in the data table, use subtraction to calculate the Time Interval.

- Add the time intervals and divide by 5 to calculate the average time interval.

- Calculate the speed of sound. Divide the total travel distance by the average time interval. Show all work.

vexp = x / t 	where x = twice the length of the tube and t = average time interval

- The accepted speed of sound at atmospheric pressure and 0 C is 331.5 m/s. The speed of sound increases 0.607 m/s for every C. Calculate the speed of sound at the temperature of your room. Show all work.

vtheo = 331.5   +   (0.607  x   temp of room in ˚C)

- How different are your answers to #3 and #4? Subtract the two numbers to show the exact difference.